Components of Sustainability

- Optimize building siting and orientation to take advantage of shading provided by natural vegetation, reduce summer heat gain, provide shelter from winter winds, and capture summer breezes.

- Design to optimize natural lighting, provide for task lighting, and specify high-efficiency electric lighting.

- Establish an energy budget for each project, aiming to exceed current standards such as ASHRAE 90.1-1989 by at least 25%.

- Specify locally or regionally produced products when possible.

- Design to minimize cut-off waste and provide for recycling during construction.

- Specify materials and finishes with low or no volatile organic compound emissions, and provide ventilation as described in ASHRAE 62-1989 "Ventilation for Acceptable Indoor air quality."

- When selecting products and materials, consider energy, water, materials consumption, transportation, and impacts on natural systems.

- Minimize impervious surface and provide for infiltration and retention of storm-water to minimize contaminant loading.

- Landscape with native vegetation, preserve natural terrain and other features.

- Consider opportunities to provide shelter or habitat for compatible species as well as to restore waterways, vegetation, and habitats.